[image: image1.jpg]OF MONTANA







EMT-Basic Refresher Program:                           

TASK ANALYSIS: Ventilation: Flow-restricted, oxygen-powered device
	SKILLS CHECKLIST
	NOTES

	Mark off task analysis steps as you do them. Record notes in the column to the right.
	

	Condition
	

	Mastery of pocket mask, oxygen administration and oral/nasal airway insertion.
	

	Specific tasks
	

	
Insert an oropharyngeal airway
	

	
Ventilate with pocket mask
	

	
Assemble FROPVD 
	

	
Ventilate 
	

	
Check pressure gauge on regulator to ensure sufficient operating pressure (greater than 400psi)
	

	
Assure liter flow is off


Ventilate
	

	
Depress button on  FROPVD  to determine that oxygen  flows
	

	
If not functioning,  continue with pocket mask or switch to a bag valve mask unit
	

	
Ventilate
	

	
Completely occlude outlet port on FROPVD  and depress button to assure it is working correctly
	

	
If not functioning, continue with  pocket mask or switch to a bag valve mask unit
	

	
Ventilate 
	

	
Attach proper size mask to valve unit                                (you can utilize the pocket mask)


	

	
Ventilate with FROPVD
	

	
Position yourself at the head of patient, facing the patient’s feet
	

	
Place the thumb and forefinger of your weaker hand around the inlet port near the outer edge of the mask, placing it on and sealing it to the patient's face
	

	
Place heel of dominant hand on the mask, securing the mask to the patient's face
	

	
Depress button with thumb and/or forefinger of your dominant hand while watching for chest rise
	

	
Release button before chest reaches maximum expansion
	

	
Repeat ventilation at an appropriate rate


	



