[image: image1.jpg]OF MONTANA







EMT-Basic Refresher Program:                    
TASK ANALYSIS: Non-Rebreather reservoir mask

SKILLS CHECKLIST
NOTES
Mark off task analysis steps as you do them. Record notes in the column to the right.

Assemble and prepare tank and regulator


Select appropriate size partial-rebreather


Remove mask from plastic bag


Uncoil tubing and reservoir bag


Open tank valve


Set flow meter valve at 10-15 LPM


Attach tubing to flowmeter nipple


Occlude one-way valve to reservoir bag with finger


When reservoir bag is full, remove finger


Explain procedure to patient if conscious


Place mask over patient’s nose and mouth


Secure with elastic head band


Gently crimp metal nose piece reduce leakage


Monitor and adjust flow meter valve to maintain reservoir bag at least partially inflated during inspiration

